## Sheet1
initial
MC IG | 6e-07
SR IG | 5.5e-07
MC baratron | 0.0066
TRUST
time | L current | Nozzle current | MC SB | MC FB | ER SB | SR IG | modulation | Pf | Pr | SRS | PAGE 1 | Pnet | MC from SB | MC from ER | antenna V | plate offset | plate pkpk | interferometer divs/5 | Interferometer (mV) | Interferometer (/cc)
2:05 | 92 | 300 | [5 empty] | 110 | 10 | 0.1 |  | 100
2:24 |  |  | 0.0082 | 1.24 | 0.565 | 2.7e-05 | 250Hz | 78 | 7 | 0.15 | Screenshot of backplate is interesting. V decay is slow. | 71 | 1.6 | 1.6
2:40 |  |  | 0.0082 | 1.23 | 0.552 | 2.7e-05 | 250Hz | 58 | 6 | 0.15 | Paddle dark. | 52 | 1.6 | 1.5632
3:25 |  |  | 0.0082 | 1.18 | 0.545 | 2.7e-05 | 250Hz | 178 | 20 | 0.243 |  | 158 | 1.6 | 1.5434
3:30 |  |  | 0.0082 | 1.16 | 0.547 | 2.7e-05 | 250Hz | 162 | 21 | 0.243 | Pressure scan. Paddle glows "blood red" | 141 | 1.6 | 1.549 | 4430 | -1260 | 1380 | 22 | 4.4 | 21120000000
3:40 |  |  | 0.0085 | 1.37 | 0.629 | 3.2e-05 | 250Hz | 162 | 19 | 0.243 |  | 143 | 1.9 | 1.7812 | 4310 | -1208 | 1290 | 28 | 5.6 | 26880000000
3:43 |  |  | 0.0088 | 1.62 | 0.725 | 3.7e-05 | 250Hz | 169 | 15 | 0.243 |  | 154 | 2.2 | 2.0531 | 4170 | -1199 | 1210 | 30 | 6 | 28800000000
3:45 |  |  | 0.009 | 1.88 | 0.822 | 4.2e-05 | 250Hz | 169 | 13 | 0.243 |  | 156 | 2.4 | 2.3278 | 3980 | -1188 | 1150 | 32 | 6.4 | 30720000000
3:51 |  |  | 0.0091 | 2.17 | 0.952 | 5e-05 | 250Hz | 168 | 15 | 0.242 |  | 153 | 2.5 | 2.6959 | 3460 | -1166 | 1050 | 47.5 | 9.5 | 45600000000
3:54 |  |  | 0.0096 | 2.65 | 1.136 | 6.1e-05 | 250Hz | 168 | 20 | 0.244 |  | 148 | 3 | 3.217 | 3270 | -1086 | 1000 | 52.5 | 10.5 | 50400000000
3:57 |  |  | 0.01 | 3.12 | 1.318 | 7.3e-05 | 250Hz | 173 | 24 | 0.25 |  | 149 | 3.4 | 3.7324 | 3240 | -1020 | 960 | 50 | 10 | 48000000000
4:02 |  |  | 0.0108 | 3.96 | 1.65 | 9.5e-05 | 250Hz | 179 | 31 | 0.255 |  | 148 | 4.2 | 4.6726 | 3240 | -929 | 1000 | 72.5 | 14.5 | 69600000000
4:05 |  |  | 0.0114 | 4.71 | 1.956 | 0.00011 | 250Hz | 210 | 62 | 0.286 | Top of column in MC looks brighter. | 148 | 4.8 | 5.5391 | 3200 | -711 | 820 | 75 | 15 | 72000000000
4:11 |  |  | 0.0082 | 1.06 | 0.538 | 2.6e-05 | 250Hz | 173 | 22 | 0.251 |  | 151 | 1.6 | 1.5235 | 4600 | -1306 | 1450 | 22 | 4.4 | 21120000000
- | - | - | - | - | - | - | - | - | - | - | PAGE 2 | [8 empty] | 0
4:14 |  |  | 0.0081 | 0.98 | 0.506 | 2.4e-05 | 250Hz | 175 | 25 | 0.253 |  | 150 | 1.5 | 1.4329 | 4700 | -1340 | 1480 | 21 | 4.2 | 20160000000
4:17 |  |  | 0.008 | 0.87 | 0.47 | 2.3e-05 | 250Hz | 175 | 25 | 0.252 |  | 150 | 1.4 | 1.331 | 4730 | -1374 | 1510 | 20 | 4 | 19200000000
4:19 |  |  | 0.0079 | 0.81 | 0.444 | 2.1e-05 | 250Hz | 172 | 26 | 0.252 | Changes in amplitude of antenna are corellated with changes in offset of plate | 146 | 1.3 | 1.2573 | 4750 | -1395 | 1510 | 21 | 4.2 | 20160000000
4:22 |  |  | 0.0078 | 0.47 | 0.34 | 1.6e-05 | 250Hz | 174 | 23 | 0.256 |  | 151 | 1.2 | 0.96283 | 3950 | -396 | 1120 | 8 | 1.6 | 7680000000
4:24 |  |  | 0.0077 | 0.36 | 0.302 | 1.4e-05 | 250Hz | 172 | 30 | 0.258 | 3 steps to backplate, delayed density rise | 142 | 1.1 | 0.85522 | 4250 | -271 | 1180 | 5.5 | 1.1 | 5280000000
4:33 |  |  | 0.0076 | 0.17 | 0.234 | 1e-05 | 250Hz | 196 | 50 | 0.28 | Positive voltage? Negative density? Very faint. | 146 | 1 | 0.66265 | 5320 | 408 | 1380 | 1.6 | 0.32 | 1536000000
[11 empty] | Jack measures Vbackplate on the newer scope | 0
4:45 |  |  | 0.0081 | 0.81 | 0.452 | 2.2e-05 |  | 140 | 18 | 0.22 |  | 122 | 1.5 | 1.28 | 4050 | -1126 | 1280
5:17 |  |  | 0.007 | -0.48 | 0.019 | 6.6e-07 |  | 0 | 0 | 0 | ZEROES | 0 | 0.4 | 0.053805