## Slide 1: Update 9/9/15
Jack Matteucci

## Slide 2: Floating potential for Te= 4 eV

## Slide 3
Floating potential for Te= 4 eV

## Slide 4: Nozzle Scan: Endplate Voltage
Power Absorbed = 390 W, L2 coil = 92 A, ER pressure =0. 364 mT , Main pressure = 0.798 mT

## Slide 5: Nozzle Scan: Satellite Voltage
Power Absorbed = 390 W, L2 coil = 92 A, ER pressure =0. 364 mT , Main pressure = 0.798 mT

## Slide 6: Nozzle Scan: ER Voltage
Power Absorbed = 390 W, L2 coil = 92 A, ER pressure =0. 364 mT , Main pressure = 0.798 mT

## Slide 7: Nozzle Conclusions
No real dependence for Endplate
Satellite region has dependence we’d expect- more hot electrons get through and lower Vf
Expansion region is perplexing (more low Te?)
Last 300 A nozzle doesn’t jive with others- can’t find what’s different in data.

## Slide 8: Power Scan: Endplate Voltage Fit Comparison
L2 coil = 92 A, ER pressure =0. 364 mT , Main pressure = 0.798 mT
0.5

## Slide 9: Power Scan: Endplate Voltage
0.5
0.5
L2 coil = 92 A, ER pressure =0. 364 mT , Main pressure = 0.798 mT

## Slide 10: Power Scan: Satellite Voltage
0.5
0.5
L2 coil = 92 A, ER pressure =0. 364 mT , Main pressure = 0.798 mT

## Slide 11: Power Scan: Endplate Voltage
L2 coil = 92 A, ER pressure =0. 364 mT , Main pressure = 0.798 mT

## Slide 12: L2 Scan: Endplate Voltage
Power Absorbed = 300 W, ER pressure =0. 364 mT , Main pressure = 0.798 mT

## Slide 13: L2 Scan: Satellite Voltage
Power Absorbed = 300 W, ER pressure =0. 364 mT , Main pressure = 0.798 mT

## Slide 14: L2 Scan: ER Voltage
Power Absorbed = 300 W, ER pressure =0. 364 mT , Main pressure = 0.798 mT

## Slide 15: Power/Pressure Scan: Endplate Voltage
L2 coil = 92 A

## Slide 16: Power/Pressure Scan: Satellite Voltage
L2 coil = 92 A

## Slide 17: Power/Pressure Scan: ER Voltage
L2 coil = 92 A

## Slide 18: ER Langmuir Characteristic
Power Absorbed = 80 W, L2 coil = 92 A, ER pressure =0.83 mT , Main pressure = 1.84 mT

## Slide 19: Calculated vs. Measured Characteristic
Vfloat = 2.1 V, V plasma = 10.3 V , Density = 9.6 e9 /cc, Hot density = 5.3 e7/cc
Ratio = 0.0056

## Slide 20: Satellite Langmuir Characteristic
Power Absorbed = 80 W, L2 coil = 92 A, ER pressure =0.83 mT , Main pressure = 1.84 mT
Flat I+ approx
V float = -46.8 V, Vplasma = -45.6 V - Doesn’t really make since!

## Slide 21: Satellite Langmuir Characteristic
Power Absorbed = 80 W, L2 coil = 92 A, ER pressure =0.83 mT , Main pressure = 1.84 mT
Flat I+ approx
Sqrt I+ approx
Density = 5.5e8/cc
Setting Vf= -100 V, find:

## Slide 22: Satellite Langmuir Characteristic
Power Absorbed = 80 W, L2 coil = 92 A, ER pressure =0.83 mT , Main pressure = 1.84 mT
Flat I+ approx
Sqrt I+ approx
Density = 2.0e8/cc
Setting Vf= -120 V, find:

## Slide 23: Satellite Langmuir Characteristic
Power Absorbed = 80 W, L2 coil = 92 A, ER pressure =0.83 mT , Main pressure = 1.84 mT
Flat I+ approx
Sqrt I+ approx
Density = 1.0e7/cc
Setting Vf= -150 V, find:

## Slide 24: Satellite Langmuir Characteristic
Power Absorbed = 400 W, L2 coil = 92 A, ER pressure =0.27 mT
No analysis, Te = 241 eV
Flat i+, Ne = 2.2e9/cc, Te = 250 eV
Flat i+, Ne = 1.6e10/cc, Te = 320 eV

## Slide 25: Moving Forward
Could take more characteristics- got pretty good results- as always, learned how to take better data!
Analyze phase shift data – We see oscillating floating potential! This most likely is described by an oscillating temp distribution (probes are hard!), so can go ahead and make calculations of: what distribution could be based on oscillation and offset of floating potential, along with “average” current measured.
Run RMF woooo! Search for separatrix by measuring floating potential- we now are beginning to understand mechanism by which floating potential oscillates, and this bodes well for separatrix experiment.